F/12INCH/T5/G5/8W/BLB

bulb specifications:

category:Fluorescent

watt:8

base:G5 - Miniature Bi-Pin

glass:T5

filament:FLUORESCENTDISCHARGE

m.o.l.:12 inch (304MM)

d.hours:7500

notes:

UVA

UVA radiation: 1.2w

glass color is: 365nm

glass color is: black-light

glass color is: blacklight blue

glass color is: uv-long-wave

compact fluorescent

depreciation after 2000H: 25 percent

dim:288MMx16MM

discharge lamp

filtered

fluorescent

with integral filter